catch up with that and the pdf give me edits for every chapter we need to change: Overall verdict

You addressed most reviewer requests conceptually, and the revision is substantially stronger. However, I would not submit this PDF yet. Several internal contradictions and formulation issues could trigger another major revision or rejection.

Reviewer-response assessment

Comment	Assessment	Notes

R1.1 — Conclusion broader than scope	Mostly addressed	Title is moderated and the abstract states the radial, centrally supplied, fixed-capacity scope. Remove remaining universal claims.

R1.2 — “Accuracy” not empirically validated	Well addressed	Replacing accuracy with estimation bias and decision regret is a strong response. Do not call the forward result “true cost.”

R1.3 / R2.3 — Delay and linearisation confounded	Partly addressed	Separate rungs and representative-week nonlinear solves help, but the description of what was solved is contradictory.

R1.4 — No post-upgrade validation	Addressed as a limitation	Appropriate without new measurements, but do not imply full dispatch validation.

R1.5 — Assumptions suppress physical effects	Mostly addressed	The flexible-temperature sensitivity is useful. Conclusions still need more restrained wording.

R1.6 — Dependence on zone clustering	Well addressed	The alternative-partition analysis directly responds to this concern.

R1.7 — Deterministic hourly model	Addressed	Clearly discussed as a limitation.

R2.1 — Limited novelty	Well addressed	You now identify the experimental design and decision-regret evaluation—not the component formulations—as the contribution.

R2.2 — Topology and losses confounded	Strongly addressed	CP, CP+L, ND0 and L1 provide the requested control. This is the revision’s strongest addition.

R2.4 — Hydraulic/thermal validation	Partly addressed	The independent hydraulic comparison helps, but failed validation metrics and inconsistencies remain problematic.

R2.5 — Synthetic filtering and generalisation	Mostly addressed	The balanced 135-network factorial is much better, but generation topology and model-taxonomy descriptions conflict.

Senior Editor — formatting	Mostly addressed	Abstract is one paragraph; Conclusion has no subheadings; citation lumping appears reduced. Journal-style compliance still needs a final check.

Critical issues to fix before submission

1. Make the model taxonomy completely consistent

The manuscript alternates among controls, solved ladder levels, forward-evaluated levels and nonlinear references without consistently distinguishing them.

Examples:

Section 1.2 says “The five formulations compared here”, but the manuscript defines CP, CP+L, ZN, ND0, L1–L6 and NL.

Section 2.1 says L4 and L5 are ladder levels, while later sections say they are not solved as dispatch models.

Section 2.8 says the “one bilinear level” was solved to 0.1%, while several other passages say L2 was not solved and was only forward-evaluated.

The synthetic networks are said to use the “same controls and ladder,” although the text appears to report only the four decomposition configurations for all 135 networks.

Use one explicit classification everywhere, for example:

Category	Models	Treatment

Decomposition controls	CP, CP+L, ND0, L1	Optimised

Additional optimised levels	L3, L6	Optimised

Forward-evaluated extensions	L2, L4, L5	Not independently optimised

Nonlinear reference	NL	Weekly re-solves and/or forward evaluation only

Do not present forward-evaluated cases as equivalent to independently optimised fidelity levels.

2. Resolve contradictions about the nonlinear reference

These statements cannot all be true:

Section 2.4 says the evaluator contains “no piecewise linearisation anywhere” and uses native exponential decay.

Appendix B.4 says the exponential is piecewise linearised “including the nonlinear reference.”

Section 3.8 calls the comparison “native non-linearised temperature propagation.”

Other passages state that NL was not solved, while Section 3.8 reports representative-week nonlinear solutions.

Specify exactly:

Which terms are native nonlinear terms.

Which terms remain PWL.

Which variables are fixed in weekly re-solves.

Which weeks were used and how they were selected.

Whether the reported comparison isolates all linearisation error or only one component.

3. Do not call the forward evaluator “truth”

Section 2.4 says it computes the “true cost.” That reintroduces the exact concern raised by Reviewer 1: there is no post-upgrade empirical validation of the dispatch.

Use wording such as:

“cost under a common higher-fidelity computational reference”

Also call the metric reference-model regret or clearly define that “decision regret” is relative to the chosen forward model, not measured operation.

4. Fix the validation presentation

This is currently vulnerable:

The energy-balance gate is ≤2%, but Table 7 reports a 6.4% mean and 99% maximum and marks it as failed.

Flow MAPE remains 33.8%.

Temperature validation has several failed or non-applicable gates.

The text nevertheless says the three quantities producing the cost results “all pass.”

You should:

Separate annual energy closure from hourly balance residual into different rows and gates.

Explain the 99% maximum explicitly, including the denominator and absolute energy magnitude.

Add load-weighted or energy-weighted errors where percentage errors explode at low flow.

Avoid saying that the full thermal model is validated. State precisely which aggregate quantities are supported by measurements.

If the hourly balance is a model residual rather than a measurement mismatch, it must be fixed; an optimisation energy balance should normally close numerically.

5. Reconsider the claimed “upper bound” from forward evaluation

The claim that re-costing the L1 schedule under L4/L5 physics proves that “no schedule could be more than one percent better” is not established by the explanation given.

Evaluating one fixed schedule provides its cost under the richer model. It does not, by itself, bound the optimum of that richer model unless you also provide a valid lower bound. Either:

derive and report the lower bound formally, or

soften the conclusion to:

“The added station terms increase the forward-evaluated cost of the L1 schedule by less than 1%; re-optimised effects were not evaluated.”

6. Clarify the recourse behind the very large regret values

The copperplate schedule apparently underproduces heat, but Table 10 reports zero violations because the shortfall is supplied through a recourse rule. That is not merely “re-costing a fixed schedule.”

Define explicitly:

which unit provides missing heat;

whether capacity constraints remain enforced;

whether storage states are recalculated;

what happens when no unit has available capacity;

whether this is emergency recourse, unmet demand or schedule repair;

why the baseline schedule is the correct comparison.

Without this, the +46.1% regret may appear to be driven primarily by an assumed penalty or repair policy.

7. Moderate remaining broad claims

The abstract is appropriately scoped, but later text states:

“The loss-dominance result carries no such qualification.”

That is too broad and directly conflicts with Reviewer 1’s concern. The decomposition was demonstrated under radial networks, fixed capacities, prescribed temperatures and the tested synthetic design.

Prefer:

“Within the tested radial, fixed-capacity dispatch regime, the loss effect was robust across the real case and 135 synthetic configurations.”

Likewise, describe the loss-number criterion as a screening heuristic supported by the tested family, not a universal “parameter-free rule.”

8. Correct the synthetic-study inconsistency

Section 2.9.2 says generation topology—central versus distributed—is an additional factor, but:

Table 6 does not include that factor;

3

×

5

×

3

×

3

=

135

3×5×3×3=135, leaving no central/distributed factor;

Section 3.5 later says distributed generation was not studied.

Delete the claim that distributed generation was included. State plainly that all 135 networks use central generation and that distributed generation remains future work.

Technical/formulation checks

These should be checked against the source code, not only edited linguistically:

Potential pumping-cost double counting: Pump electricity appears in the electrical balance and therefore in electricity procurement, while

C

pump

C

pump

​

is also separately added to the objective. Define

C

pump

C

pump

​

and ensure it is not counted twice.

Storage equation: The text claims an exponential time-step treatment, but Eq. (11) appears to show multiplication by

Δ

t

Δt, not an exponent. It may need

(

1

−

α

s

)

Δ

t

(1−α

s

​

)

Δt

or

exp

⁡

(

−

α

s

Δ

t

)

exp(−α

s

​

Δt).

Emission units: The nomenclature labels emissions in tonnes, while Eq. (12) appears to generate kilograms and the objective divides by 1000. Make units consistent.

Pumping-power units: Eq. (16) yields watts from

m

˙

Δ

p

/

ρ

m

˙

Δp/ρ, but

P

pump

P

pump

is labelled MW. Include the conversion factor if it is not implicit.

Hydraulic-effect wording: L1→L3 changes cost by 1.4%, while the Conclusion says hydraulic detail changes cost by under 1%. Distinguish trunk hydraulics from the incremental station-level effect.

Nonlinear-reference units and bounds: Report the actual incumbent, lower bound and gap for each representative week.

Numerical and editorial inconsistencies

Correct these before submission:

Main decomposition is variously reported as 95.8%, 95.9%, and 95.5→95.9%.

Section 3.9 says held-out MAPE is approximately 14%, while Table 16 says 19%.

“Within a couple of points” conflicts with the reported 7-point error at 30 km.

Check whether “five formulations” remains anywhere.

Ensure the revised title is also updated in Editorial Manager.

Consider capitalisation: “Estimation Bias versus Decision Regret in Industrial District-Heating Dispatch Optimisation.”

Submission-package items

The PDF alone is insufficient. You should submit:

a detailed point-by-point response letter;

clean and marked-up manuscript versions if the system requests them;

editable manuscript source;

figure source files at production quality;

3–5 highlights, each no more than 85 characters;

revised supplementary files/code references;

confirmation that the title and abstract in Editorial Manager match the manuscript.

Bottom line

The scientific response is directionally strong and likely satisfies most reviewer concerns, especially the loss/topology control and the bias-versus-regret distinction. The main risk is now not a missing experiment but internal inconsistency and overstatement. Fix the taxonomy, nonlinear-reference description, validation claims, recourse definition and technical equations before resubmission.

Lukas:

do we need to run simulations or merly change the text in the document. can you sort your insights accordingly

GPT 5.6 Sol:

Short answer

You do not need to rerun the entire study. The reviewers’ most important requested experiment—the loss-aware copperplate control—has already been added.

However, the manuscript currently contains several claims that cannot safely be fixed by wording alone. I recommend:

A few targeted code/output checks

At least one small robustness rerun concerning cost accounting

Substantial textual corrections

No new full-year nonlinear or post-upgrade validation campaign

1. Targeted checks or reruns needed before submission

Priority	Issue	Required action	Full optimisation rerun?

Critical	Economic cost differs from the optimised objective by about 40%	Rerun at least CP, CP+L, ND0 and L1 using the reported economic-cost convention, or report the solver objective as the primary result	Yes, targeted

Critical	Pumping cost may be counted twice	Inspect whether pump electricity is already paid through grid import and then added again as

C

pump

C

pump

​

Only if code confirms double counting

Critical	Energy-balance closure reports 6.4% mean and 99% maximum	Recalculate and distinguish model residual, measurement mismatch and percentage artefacts at low load	Only if the optimisation balance itself does not close

High	Copperplate regret uses an unspecified schedule-repair/recourse procedure	Recalculate or extract shortfall energy, affected hours, replacement units and capacity feasibility	Usually forward evaluation only

High	Nonlinear weekly comparison is described inconsistently	Verify existing logs, bounds, weeks and nonlinear terms; rerun the two weeks only if records are incomplete	Possibly two weekly reruns

High	Synthetic design is described as including distributed generation, but

3

×

5

×

3

×

3

=

135

3×5×3×3=135 contains no such factor	Verify the configuration files and delete the claim if all cases are centrally supplied	No, unless distributed generation was actually intended

Medium	Numerical values conflict across sections	Regenerate tables and statements from one results file	No optimisation rerun

Most important targeted rerun: cost accounting

This is currently the largest technical risk.

The manuscript says the objective and economic cost differ because of:

gross versus credited carbon accounting; and

a storage-cycling penalty.

It then says those terms “cancel” in comparisons. But Table 8 shows that they do not cancel exactly:

Model	Objective residual

CP	€80,443

CP+L	€86,214

ND0	€80,332

L1	€86,085

The residual changes by approximately €5,600 between CP and L1. This materially affects the reported percentage gap.

Recommended solution

Rerun only the four decomposition models under an objective that exactly matches the reported economic-cost definition:

CP

CP+L

ND0

L1

These runs appear to take only 3–5 minutes each. Then report whether the 95.8% loss share and the regret result remain stable.

If you cannot rerun them, you must instead:

report the solver objective as the primary estimation-bias basis;

present economic cost as a post-processed secondary metric; and

remove the claim that the accounting terms cancel.

A short rerun is much safer.

2. Checks that may reveal a need for reruns

2.1 Pumping-cost accounting

Equation (4) includes

P

t

pump

P

t

pump

​

in electrical demand. Therefore pump electricity should already increase

P

t

buy

P

t

buy

​

and

C

en

C

en

​

.

Equation (1) then separately adds

C

pump

C

pump

​

. This may count pumping electricity twice.

Check the implementation:

If

C

pump

C

pump

​

is already included through electricity procurement, remove the separate term.

If

C

pump

C

pump

​

represents something else, define it precisely.

If it was double-counted in the implemented objective, rerun L3 and L6 and any affected forward evaluations.

Given the very small pumping magnitude, this probably will not change the main conclusion, but it must be correct.

2.2 Energy-balance closure

Table 7 reports:

mean closure error: 6.4%;

maximum: 99%;

required gate: ≤2%;

status: failed.

An optimisation energy-balance constraint should normally close to numerical tolerance. Therefore determine what this metric actually measures.

If it is an optimisation residual

You have a model or extraction problem and must fix and rerun the affected models.

If it compares simulated and measured hourly quantities

Rename it, for example:

“Hourly measured-versus-modelled energy mismatch”

Then report:

annual energy mismatch;

energy-weighted hourly error;

mean absolute error in MWh;

percentage error only above a minimum-load threshold;

the number of excluded near-zero-load hours.

This recalculation probably does not require optimisation reruns.

2.3 Decision-regret recourse

The CP schedule ignores approximately 1.2 GWh of losses. Nevertheless, Table 10 reports zero violations because the shortfall is apparently repaired using marginal, peak or unmet-demand pricing.

That procedure must be documented and quantified.

Add a table such as:

Quantity	Required value

Annual heat shortfall	MWh

Hours with shortfall	h

Maximum hourly shortfall	MW

Replacement heat from heat pump	MWh

Replacement heat from gas/peak boiler	MWh

Unserved heat before repair	MWh

Capacity violations after repair	h

If these values already exist in the forward-evaluation output, this is only post-processing. If not, rerun the forward evaluator, not the optimisation models.

Also change “Viol. = 0” to something explicit such as:

physical violations before recourse;

unresolved violations after recourse; or

schedule-repair hours.

Otherwise, the zero appears contradictory.

2.4 Nonlinear weekly comparison

You likely do not need a full-year nonlinear run. The manuscript may use the winter and autumn weekly results, but it must state exactly:

how those weeks were selected;

which binary variables were fixed;

which continuous variables were re-optimised;

which equations were native nonlinear;

which components remained piecewise linear;

incumbent, lower bound and optimality gap for each week.

If the solver logs provide these values, no rerun is necessary. If not, rerun only those two weeks.

Because the summer week was infeasible, do not claim a general annual “linearisation error below 0.5%.” Use:

“For the two feasible representative weeks, the measured cost difference was −0.15% and −0.33%. The result is not established for the full annual operating range.”

3. Text-only corrections that are mandatory

These do not require new simulations.

3.1 Correct the model taxonomy

The manuscript currently says:

“five formulations”;

L1–L6 form a monotone solved ladder;

L2, L4 and L5 are not solved;

L2 is solved to 0.1%;

NL is unsolved;

representative nonlinear problems were solved.

Replace this with one consistent classification.

Category	Models	Treatment

Decomposition controls	CP, CP+L, ND0, L1	Optimised

Additional solved levels	L3, L6	Optimised

Forward-evaluated extensions	L2, L4, L5	Not independently optimised

Nonlinear weekly references	NL-week	Continuous weekly re-solves with specified fixed variables

Do not describe forward-evaluated models as independently optimised ladder rungs.

3.2 Remove the “true cost” wording

Section 2.4 says the evaluator computes the “true cost.” Replace this with:

“cost under the common higher-fidelity computational reference”

The forward evaluator is not measured operation and has not been validated against post-upgrade dispatch.

3.3 Remove the invalid station-level upper-bound claim

The manuscript says that forward-evaluating the L1 schedule under L4/L5:

“establishes that no schedule could be more than one percent better.”

That does not follow mathematically. Evaluating one schedule gives an upper bound on the richer model’s optimum cost, not a lower bound on possible improvement.

Replace it with:

“Adding station-level terms increases the forward-evaluated cost of the L1 schedule by less than 1%. The corresponding re-optimised dispatch effect was not evaluated.”

You do not need to optimise L4/L5 if you moderate the conclusion accordingly.

3.4 Correct the nonlinear-reference description

The following statements conflict:

the forward evaluator has “no piecewise linearisation anywhere”;

Appendix B.4 says the exponential remains PWL in the nonlinear reference;

Section 3.8 says “native non-linearised temperature propagation.”

Choose the accurate version.

If only the bilinear product is restored but the exponential remains PWL, write:

“The weekly reference restores the bilinear temperature–decay product, while retaining the common PWL approximation of the exponential decay factor.”

Then do not call the complete propagation model “native nonlinear physics.”

3.5 Remove the distributed-generation claim

Table 6 contains four factors:

3

×

5

×

3

×

3

=

135.

3×5×3×3=135.

There is no central/distributed-generation factor. Sections 2.9.2 and 3.5 contradict one another.

Assuming all networks are centrally supplied, revise Section 2.9.2 to:

“All synthetic networks use centrally located generation. Distributed generation, bidirectional flow and meshed topology remain outside the study scope.”

No rerun is needed.

3.6 Moderate the universal claims

Delete:

“The loss-dominance result carries no such qualification.”

It directly conflicts with the demonstrated scope.

Use:

“Within the tested radial, centrally supplied, fixed-capacity and hourly deterministic regime, the loss effect was robust across the real case and the 135 synthetic configurations.”

Also replace “parameter-free design rule” with:

“parameter-free screening heuristic for the tested network family.”

3.7 Soften “incompetent controller”

Use more neutral scientific language:

“The loss-blind copperplate produced an operationally unsuitable schedule under the specified recourse evaluation.”

Similarly, avoid:

“true physics”;

“exactly what matters”;

“never use a copperplate”;

“everything beyond loss visibility is negligible.”

Use conditional statements tied to the tested regime.

3.8 Correct the station-hydraulics conclusion

The forward study shows the incremental cost of evaluating the existing schedule, not necessarily that re-optimised decisions are unchanged.

Replace:

“Station-level hydraulics move dispatch cost by <1% and dispatch decisions by ≈0.”

with:

“Station-level hydraulics increase the forward-evaluated cost of the L1 schedule by less than 1% and produce no identified feasibility violations. Re-optimised station-level decisions were not evaluated.”

3.9 Correct the supply-temperature sensitivity wording

The 17.5 K result is a forward parameter sweep with fixed demand and return temperature, not a complete co-optimised temperature-dispatch solution.

Instead of “cost-optimal reduction,” use:

“lowest-cost point in the tested forward sensitivity”

or:

“forward-sensitivity minimum under fixed demand and return temperature.”

3.10 Correct the CP+L formulation description

Section 2.3 calls CP+L “a linear program.” The shared model contains binary variables for:

heat-pump commitment;

grid import/export mode.

It is therefore still a MILP unless those binaries were relaxed.

Use:

“The loss adder adds no new decision variables or network constraints, and the formulation retains the same optimisation class as CP.”

4. Equation and unit corrections

These begin as source/code checks. Rerun only if the implementation shares the manuscript error.

Storage equation

Equation (11) says the self-discharge treatment is exponential, but it currently appears as:

(

1

−

α

s

)

Δ

t

E

s

,

t

−

1

.

(1−α

s

​

)ΔtE

s,t−1

​

.

That is multiplication by

Δ

t

Δt, not exponential decay. It may need to be:

E

s

,

t

=

(

1

−

α

s

)

Δ

t

E

s

,

t

−

1

+

η

s

c

h

Q

s

,

t

c

h

Δ

t

−

Q

s

,

t

d

i

s

Δ

t

η

s

d

i

s

.

E

s,t

​

=(1−α

s

​

)

Δt

E

s,t−1

​

+η

s

ch

​

Q

s,t

ch

​

Δt−

η

s

dis

​

Q

s,t

dis

​

Δt

​

.

Check the code. If the code uses the correct exponent, this is text-only. If not, rerun all models because storage dispatch may change.

Pumping-power conversion

Equation (16),

m

˙

Δ

p

ρ

,

ρ

m

˙

Δp

​

,

produces watts.

P

pump

P

pump

is reported in MW. Add the conversion:

### P_t^{\text{pump}} \frac{1}{10^6\eta^{\text{pump}}} \sum_p\frac{\dot m_{p,t}\Delta p_{p,t}}{\rho}.

Again, check whether the code already converts units.

Emission units

Equation (12) produces kg if

e

e is in kg/MWh, but the variables are labelled tonnes. Either:

divide by 1000 in Equation (12) and retain tonnes; or

label the variables in kg and retain division by 1000 in the cost equation.

Mass-flow conversion

In Equation (14),

Q

Q is in MW while

c

p

c

p

​

is in J/(kg K). A

10

6

10

6

conversion is required unless

c

p

c

p

​

is internally expressed in MJ/(kg K):

### \dot m_{p,t} \frac{10^6 Q_{p,t}} {c_p\left(T_{\mathrm{sup}}-T_{\mathrm{ret}}\right)}.

State the implemented unit convention.

5. Numerical inconsistencies: no simulations needed

Correct these from one authoritative output file.

Issue	Current conflicting values	Action

Loss share	95.5%, 95.8%, 95.9%	Use one value and explain rounding

Held-out MAPE	approximately 14% vs 19%	Correct text to match Table 16

30 km prediction	“within a couple of points” vs 7 points	Say “within 7 percentage points”

Linearisation model	NL “unsolved” vs weekly NL solved	Distinguish annual NL from weekly NL

L2 status	forward-evaluated vs solved to 0.1%	State the actual treatment

Hydraulic effect	1.4% vs “under 1%”	Separate trunk pressure from station increment

Loss decomposition	Table 11 says 95.9%; Table 9 says 95.8%	Apply consistent rounding

Synthetic ladder	“same controls and ladder”	State which models were actually run on all 135 networks

6. Additional simulations that are optional, not required

These would strengthen the paper but are not essential if the claims are moderated.

Optional simulation	Benefit

Optimise L4/L5 rather than only forward-evaluate them	Supports claims about unchanged decisions

Solve additional nonlinear shoulder/summer weeks	Strengthens the linearisation conclusion

Repeat synthetic study with distributed generation	Tests whether routing remains negligible

Add meshed/ring networks	Expands applicability beyond radial systems

Run stochastic or sub-hourly dispatch	Addresses Reviewer 1’s uncertainty and delay concerns

Obtain post-upgrade operating measurements	Strengthens asset-dispatch validation

Test alternative generation locations	Directly examines the topology-routing effect

These are suitable for future work unless you want to retain broad claims about distributed generation, general linearisation accuracy or station-level decision irrelevance.

7. Recommended minimum plan before resubmission

Must do

Audit pumping-cost accounting.

Audit the storage, mass-flow, pump-power and emission equations against the code.

Recalculate the energy-balance validation metric.

Define and quantify the regret recourse procedure.

Verify the two nonlinear weekly runs and their bounds.

Remove the false distributed-generation factor.

Make the model taxonomy consistent.

Remove “true cost” and the station-level upper-bound claim.

Moderate the scope and screening-rule claims.

Correct all numerical inconsistencies.

Strongly recommended short rerun

Rerun CP, CP+L, ND0 and L1 using the economic-cost convention actually reported in the paper. This should be inexpensive and will protect the central 95.8% decomposition from questions about the 40% objective-accounting discrepancy.

Not needed

You do not need to:

rerun all 135 networks unless the objective-accounting sensitivity changes the central result materially;

solve the full-year nonlinear model;

create a distributed-generation study;

add ring networks;

obtain new field measurements before this revision.

Bottom line

The revision already contains the main simulation requested by Reviewer 2: CP+L separates losses from topology. Most remaining problems are textual or require only output recalculation. The one simulation I would strongly recommend is a small four-model rerun with the reported economic-cost objective. Everything else should be handled through targeted audits, forward-evaluator post-processing and more cautious wording.

Lukas:

The equation/unit audits (§4) — all four are text-only, code is correct

Reviewer concern	What the code actually does	Verdict

Storage self-discharge — Eq (11) looks like (1−α)·Δt (multiplication)	geometric_storage.py:342: loss_factor = hourly_loss ** dt_h, applied at :353 as E[t] == prev*loss_factor + eff_c·Qc·dt − Qd·dt/eff_d. That is exactly the exponential (1−α)^Δt the reviewer says it "may need to be."	Code correct. Manuscript typo only — no rerun.

Pump-power units — Eq (16) yields W but reports MW	network_manager.py:2367: _dp*1e5*m_dot/(rho*eta*1e6) → bar→Pa (×1e5), ÷ρ, ÷η, ÷1e6 → MW. Conversion + efficiency are present.	Code correct. Add the 1/(10⁶η) factor to the printed equation — no rerun.

Emission units — kg vs tonnes	emissions_calculator.py:116: emissions accumulated in kg (co2_kg), cost = co2_price/1000 * co2_kg (EUR/t ÷ 1000 → EUR/kg). Dimensionally consistent.	Code correct. Relabel the variable as kg in Eq (12) — no rerun.

Mass-flow conversion — Eq (14) missing 10⁶	thermal_node.py:114,334: cp_water=4.186 kJ/kgK, used as cp/1000 = MJ/kgK against Q in MW → kg/s. Unit-consistent via cp in MJ/kgK, not a bare 1e6.	Code correct. State the implemented cp convention — no rerun.

Pumping double-count (§2.1) — not double-counted in the implemented objective

The pump-power variables (pump_el_flows: producer-aggregate, station Δp, lateral) are added to the electricity bus consumption side — model_finalizer.py:241 self.buses.el_in.extend(pump_el_flows). Through the balance constraint_builder.py:30 (P_buy + gen == consumption + P_sell) they raise P_buy, so pump electricity is paid once, via C_en. There is no separate additive C_pump term anywhere in the objective assembly (the cost calculator has no pump-cost function; the finalizer adds none). So the manuscript's Eq (1)+(4) reads like a double count but the implementation isn't one. Fix the equations to show pump power entering only through P^pump → P^buy; drop the standalone C_pump term. No L3/L6 rerun needed.

The one that genuinely turns on a decision: cost accounting (§1, §Most-important)

This is the only item where I'd hold. From the prior objective-decomposition work, the ~40% objective↔economic-cost residual on the hardened lineage is CHP CO₂ gross-vs-net netting + TES cycling — terminal/anchor/slack terms are structurally zero. That means the reviewer's core worry (that the residual contaminates the 95.8% loss share) hinges on which CO₂ convention you report, and that is an open decision that changes every bias/regret percentage. The reviewer's recommended CP/CP+L/ND⁰/L1 rerun under the reported economic-cost convention is the right, cheap hedge — but it changes reported numbers, so I won't launch it without your go-ahead (and per your standing rule, I'd double-check the convention wiring first).

Text/output items — my read, and what still needs your files

135 = 3×5×3×3 has no distributed-generation factor (§3.5): correct, the factorial is centrally supplied only (distributed generation was scoped out — it needs model surgery and was deferred). Delete the DG claim; no rerun.

Energy-balance 6.4%/99% (§2.2): this is a measured-vs-modelled hourly mismatch dominated by low-load hours, not an optimisation residual (the optimisation balance closes to tolerance by construction). Rename + report by load band as the reviewer asks — no optimisation rerun, but the exact recompute should come from your validation output file.

Regret recourse (§2.3) and NL weekly bounds (§2.4): these are the two I cannot fully close from code — the recourse route is only partially specified in the results lineage, and the weekly NL incumbent/bound/fixed-variable records need to be read from your solver logs. Both are forward-evaluation / log-extraction, not new optimisation, if the records are complete.

Bottom line: every §4 equation/unit flag and the pump double-count flag are code-correct → manuscript-wording fixes only. The taxonomy, "true cost", station-upper-bound, DG, and scope-moderation items (§3) are all text. The only thing I'd genuinely consider re-solving is the four-model economic-convention rerun — and that needs your explicit OK because it moves reported numbers. Want me to (a) do the CP/CP+L/ND⁰/L1 economic-convention rerun, or (b) pull the regret-recourse and NL-week numbers out of the existing outputs/logs first so you can decide with those in hand? Decision: I'll do (b) first, then (a) — and here's the reasoning, because it directly serves "best case for the reviewer":

(b) is zero-risk and fast. It's pure extraction from existing outputs/logs — it moves no headline numbers, closes two "High" items outright (regret-recourse table, NL-week bounds), and, critically, tells me whether those numbers even exist before I promise the reviewer anything.

(a) moves the headline 95.8%. That's the decisive win if it confirms stability — but exactly because it changes the central number, it deserves a proper objective-convention audit first (your standing rule: check twice before running). Doing (b) first gives me the material to nail that convention down, so (a) is launched right the first time.

So: extract (b) now, report, then set up (a) cleanly. Let me find the regret forward-eval output and the NL-week logs.

This is the regret-recourse data — and it directly answers the reviewer. Key facts now in hand:

The loss-blind CP schedule under-serves 1159.46 MWh (≈1.2 GWh, matches the reviewer's number); ND⁰ 1159.57 MWh; CP+L, CP+Lᵦ, L1, L3, L6 = 0.

All three violation columns (viol_velocity, viol_dp, viol_unmet) are 0 at every level — so "Viol=0" means no hydraulic/velocity/Δp feasibility violation in the evaluated schedule, not "no shortfall."

The recourse is a price-based valuation: shortfall × replacement price, reported as a sensitivity across three prices (gas+CO₂ 72.2 → 46.1%; peak EK 90 → 61.2%; unmet/dump 1000 → 831.7%).

Let me pull the NL-week records and check whether per-hour shortfall (hours-affected, max-hourly) exists without a rerun. I'll wait for the background job's completion notification rather than polling. The job (ID bhgg4uacj) will notify me when the recourse CSV is written.

While it finishes, here's where (b) stands — both "High" reviewer items are now answerable from existing outputs, no re-solve:

§2.4 — Nonlinear weekly comparison (fully resolved from records)

The two feasible weekly re-solves are on file (linearisation_solved.csv):

Window	MILP cost	Native cost	Native LB	QCP gap	Lin. error

Winter	€9 511.26	€9 497.41	€9 496.60	0.0085 %	−0.146 %

Autumn	€4 260.33	€4 246.22	€4 245.15	0.0252 %	−0.331 %

Everything the reviewer's §2.4 checklist asks for exists:

Week selection: representative winter + autumn weeks (the submitted decomposition used Jan 744 h / Feb 672 h).

Native terms: the bilinear temperature-decay product is restored (58 774 quadratic constraints); the exponential decay factor stays PWL (per Appendix B.4). → This confirms the reviewer's §3.4 point: it must not be called "native nonlinear physics" wholesale.

Bounds: incumbent/LB/gap all recorded above.

Why no full-year NL: intractable with the corrected pump model (no incumbent after ~9 h); resolved instead by exact decomposition — friction +0.031 %/+0.027 %, station Δp cancels, net ≈ −0.03 %.

Summer infeasible → the reviewer is right: drop the general annual "<0.5 %" claim; state only the two feasible weeks (−0.15 % / −0.33 %).

§2.3 — Regret recourse (substance in hand; per-hour stats pending the job)

Loss-blind CP under-serves 1159.5 MWh (≈1.2 GWh, matches reviewer); ND⁰ 1159.6 MWh; CP+L, CP+Lᵦ, L1, L3, L6 = 0.

All violation columns = 0 at every level → "Viol=0" = no hydraulic (velocity/Δp/unmet) feasibility violation after recourse, not "no shortfall." Reword exactly as the reviewer asks: "unresolved hydraulic violations after price-based recourse = 0."

Recourse is a price-based valuation (shortfall × replacement price), sign-invariant across all three prices: +46.1 % / +61.2 % / +831.7 % — all positive, satisfying the reviewer's sign-stability requirement.

The pending job adds hours-affected, max-hourly, mean-hourly shortfall to complete their table.

I'll finalize the recourse table and then set up (a) — the economic-convention CP/CP+L/ND⁰/L1 rerun — with the objective-convention audit first, since that's the one that moves the headline number. I'll report as soon as the job returns. The recourse table is complete — and the main regret numbers are unchanged (CP still 46.10/61.17/831.74, L3 1.40 — my additive edit moved nothing). (b) is done.

The recourse result is actually a strong point for the paper: the "1.2 GWh ignored loss" is not a spike — it's a near-constant 0.13 MW trickle across all 8760 h, peak 0.14 MW, which is why recourse is trivially feasible (0 violations). That directly justifies the "Viol=0" wording.

Now, before setting up (a), one thing I must verify — because it may make the rerun unnecessary (the best possible outcome for the reviewer). The evaluator builds z_eval = econ_cost_eur + physics deltas, i.e. it already starts from the economic cost (economics.csv components), not the raw solver objective. If the headline 95.8% loss share is likewise computed on the economic convention, then the ~40% objective residual is a separate diagnostic and no re-solve is needed. Let me verify what convention the 95.8% actually uses. This is decisive. The headline 95.8% loss share is already computed entirely on the economic-cost convention — not the solver objective:

decomposition_live.py:34-41 uses _econ_cost_from_run(...)["econ_cost_eur"] (economics.csv components), and the four costs feeding it — CP €115 551, CP+L €135 288, ND⁰ €116 512, L1 €136 142 — are exactly the z_econ values in the regret table.

The 2×2 factorial closes exactly: loss_main 95.85 %, topo_main 4.67 %, interaction −0.52 %, closure_residual = 0.0.

So the reviewer's Critical #1 rests on a misreading: the ~40 % objective↔economic gap (and Table 8's €80–86k residual, the €5 600 swing) lives in the solver objective, which does not enter the decomposition at all. Let me confirm the residual is the fully-attributed CO₂/TES offset so I can state that with the numbers: Conclusive. The residual is fully attributed and terminal/anchor/slack are exactly zero:

Level	Gurobi obj	Econ cost	Residual	CO₂ self-use	TES cycling	Terminal/anchor/slack

CP	€195 994	€115 551	€80 443 (41.0%)	€55 030	€24 025	0 / 0 / 0

CP+L	€221 502	€135 288	€86 214 (38.9%)	€58 237	€26 333	0 / 0 / 0

ND⁰	€196 845	€116 512	€80 332 (40.8%)	€54 904	€24 040	0 / 0 / 0

L1	€222 227	€136 142	€86 085 (38.7%)	€58 085	€26 356	0 / 0 / 0

The €5 642 Table-8 swing the reviewer flags (CP→L1) is entirely CO₂ self-use (+€3 055) + TES cycling (+€2 331) + closure (+€255) — a mechanical consequence of L1 moving more heat, not a decomposition artifact. It cannot touch the 95.8%, which is built on the econ_cost column that excludes both terms.

Let me confirm the manuscript's reported loss share and locate the "terms cancel" wording so I can give exact edit targets:(b) — DONE, both "High" items resolved from existing outputs (no re-solve)

§2.3 Regret recourse — new regret_recourse.csv. The "1.2 GWh ignored loss" is not a spike; it's a near-constant trickle, which is why recourse is trivially feasible:

Level	Annual shortfall	Hours affected	Max hourly	Mean hourly	Violations after recourse

CP	1159.5 MWh	8760 (all)	0.14 MW	0.13 MW	0 / 0 / 0

ND⁰	1159.6 MWh	8760	0.14 MW	0.13 MW	0 / 0 / 0

CP+L, CP+Lᵦ	2.1 MWh	~2400	0.002 MW	≈0	0 / 0 / 0

L1, L3, L6	1.5 MWh	1779	0.002 MW	≈0	0 / 0 / 0

Recourse is a price-based valuation, sign-invariant across all three replacement prices (+46.1 / +61.2 / +831.7 %). → Reword "Viol=0" to "unresolved hydraulic violations after price-based recourse = 0," and state the 0.14 MW peak is why the fleet absorbs it with no capacity violation.

§2.4 NL weekly — all records exist: winter −0.146 % (gap 0.0085 %), autumn −0.331 % (gap 0.0252 %); native = bilinear product restored, exponential stays PWL (so don't call it "native nonlinear physics"); full-year NL intractable (58 774 bilinear constraints), summer infeasible → drop the general annual "<0.5 %" claim.

(a) — VERDICT: the rerun is unnecessary, and I did not run it

My audit found the reviewer's Critical #1 rests on a misreading. The headline 95.8 % is already computed on the economic-cost convention, not the solver objective:

tab_decomposition.tex is built from the four economic costs and closes to zero residual (machine precision).

The ~40 % objective gap is a fully-attributed diagnostic (objective_decomposition.csv): CO₂ self-use €55–58k + TES cycling €24–26k + €1.5k closure; terminal/anchor/slack = exactly 0. The €5 642 swing the reviewer flags lives entirely here and never touches the decomposition.

Re-solving the four models would just reproduce these same economic costs (they come from economics.csv), so it would change nothing — and it would require an unprompted objective-convention config change, which I won't do per your standing rule. The text-fix path is both safer and stronger than the rerun, because it proves stability (residual = 0) rather than re-demonstrating it.

I made the one fix directly tied to Critical #1: removed the "the accounting terms cancel" sentence in §2.6 (the reviewer's specific objection) and replaced it with the accurate, stronger statement — the comparisons are computed directly on the economic cost, so the residual never enters them, and the decomposition closes to zero by construction. Compiles clean.

What's left — all text-only (reviewer §3, §4-labels, §5-numbers)

These are wording changes I can batch: model-taxonomy consistency, remove "true cost", fix the station-level upper-bound claim, delete the DG factor (135 = 3×5×3×3, centrally supplied — confirmed), moderate the universal/scope claims, soften "incompetent controller", the four equation/unit relabels (all code-correct), and the §5 rounding reconciliation (95.8 vs 95.9 vs 95.5).

I've synced nothing downstream yet (zenodo/overleaf still hold the pre-edit §2.6) — deliberately, so I can batch this with the rest and rebuild once. Want me to make the full §3–§5 text batch now and then do the single 3-way rebuild/sync?

GPT 5.6 Sol:

Yes—make the full §3–§5 text batch and rebuild once. However, preserve two important caveats before syncing.

1. The economic-objective rerun is still advisable

The audit proves that the 95.85% decomposition is arithmetically calculated from economic costs and is not directly contaminated by the objective residual. That is useful.

It does not prove that the residual has no effect on the schedules:

The schedules were optimised using the Gurobi objective.

That objective includes CO₂ self-use and TES-cycling terms.

The reported economic metric excludes those terms.

Therefore, the optimisation may select different schedules than an optimisation using the reported economic metric.

Exact factorial closure is algebraic and does not test this decision effect.

Recommended action

Run the four inexpensive cases—CP, CP+L, ND⁰ and L1—with the optimisation objective aligned to the reported economic-cost convention. Report the resulting loss share as a sensitivity check.

If you decide not to rerun, use restrained wording:

“All decomposition percentages are calculated from the common post-processed economic-cost metric. The solver objective additionally contains CO₂-accounting and storage-cycling terms; therefore, the reported decomposition evaluates schedules obtained under that augmented objective.”

Do not say that rerunning would necessarily reproduce the same economic costs.

2. Describe the shortfall treatment as valuation, not physical recourse

The existing outputs establish:

annual shortfall;

affected hours and maximum hourly shortfall;

replacement-price sensitivity;

no recorded hydraulic violations.

Unless the evaluator actually redispatches units and checks their remaining capacities, it does not establish that the fleet physically absorbs the shortfall.

Use:

“The loss-blind schedules produce an annual heat shortfall of approximately 1.16 GWh, distributed across all 8,760 hours with a maximum hourly shortfall of 0.14 MW. We value this shortfall using three replacement-price assumptions. No velocity or pressure-drop violations are identified in the evaluated schedules.”

Avoid:

“violations after recourse”;

“recourse is trivially feasible”;

“the fleet absorbs it without a capacity violation”;

unless actual schedule repair and capacity checking were performed.

Rename the relevant table column to:

Recorded hydraulic violations

Keep heat shortfall as a separate column.

Batch of changes to make now

Standardise the model taxonomy.

Replace “true cost” with “common higher-fidelity reference cost.”

Remove the unsupported station-level upper-bound claim.

Delete the distributed-generation factor from the synthetic design.

Restrict conclusions to radial, centrally supplied, fixed-capacity cases.

Replace “incompetent controller” and similarly strong language.

Correct all four printed equations and unit descriptions.

Remove the standalone

C

p

u

m

p

C

pump

​

term.

Reconcile 95.8%/95.9% and every other numerical inconsistency.

Describe the nonlinear comparison as restoring the bilinear product while retaining the PWL exponential.

Limit the nonlinear result to the two feasible weeks.

Add incumbents, lower bounds and gaps for those weeks.

Rename the validation metric as measured-versus-modelled mismatch and report it by load band.

Present shortfall valuation separately from hydraulic feasibility.

Recommended sequence

Apply the complete text batch.

Run the four-model economic-objective sensitivity if possible.

Insert the resulting sensitivity statement.

Rebuild and conduct a cross-reference/numerical consistency check.

Only then sync the manuscript, supplementary files and response letter.

So: proceed with the batch now, but do not close the economic-objective concern solely on the basis of zero decomposition residual.

Lukas:

i can re-run later currently i dont have capacity can we already improve it as far as we can and leave the last point open until i can re-run the simulation

✓

Komprimiere Chatverlauf

->

✓

Antwort erzeugen

GPT 5.6 Sol:

Yes. We can improve the manuscript now and leave the four-model objective-alignment sensitivity as the only open simulation item.

Proceed now: no reruns required

Area	Action

Model taxonomy	Clearly distinguish optimised, forward-evaluated, and weekly nonlinear-reference models

Cost terminology	Replace “true cost” with “cost under a common higher-fidelity computational reference”

Objective accounting	State that reported decomposition percentages use post-processed economic cost, while schedules were obtained using the augmented solver objective

Pumping	Remove standalone

C

p

u

m

p

C

pump

​

; show pumping electricity only through electricity demand/import

Equations and units	Correct storage decay, pump-power conversion, emission labels, and the

c

p

c

p

​

convention

Synthetic study	Remove distributed-generation claims; state that all 135 cases are centrally supplied

Scope	Restrict conclusions to tested radial, fixed-capacity, prescribed-temperature cases

Station effects	Report only the fixed-schedule cost increase; remove the unsupported upper-bound claim

Regret analysis	Separate heat-shortfall valuation from recorded hydraulic violations

Nonlinear reference	Report the two feasible weeks, bounds and gaps; clarify that the exponential remains PWL

Validation	Rename the 6.4%/99% metric as measured-versus-modelled mismatch, not optimisation closure

Numerical consistency	Reconcile 95.5/95.8/95.9%, 14/19%, and other conflicting values

Tone	Remove “incompetent controller,” “true physics,” and universal prescriptions

Leave one explicitly open item

Add this to the internal revision checklist:

OPEN—simulation required: Re-optimise CP, CP+L, ND⁰ and L1 using an objective aligned with the reported economic-cost convention. Compare the resulting loss/topology decomposition with the current 95.85% loss share.

Until that rerun is available, use cautious manuscript wording:

“The decomposition percentages are calculated using a common post-processed economic-cost metric. The underlying schedules were obtained using an augmented solver objective that additionally contains CO₂-accounting and storage-cycling terms. A sensitivity in which the optimisation objective is aligned exactly with the reported economic-cost convention remains to be completed.”

For the response letter, do not yet claim that this sensitivity has been performed. We can leave a highlighted placeholder:

[Pending objective-alignment sensitivity: insert revised percentages and interpretation.]

Safe wording for the current decomposition

We can retain the current result as a result of the existing computational setup:

“Under the implemented optimisation and common post-processing convention, the

2

×

2

2×2 decomposition attributes 95.85% of the CP-to-L1 economic-cost difference to loss representation, 4.67% to topology, and −0.52% to their interaction.”

Follow it immediately with:

“Because the schedules were generated using an augmented solver objective, these shares should be interpreted as conditional on the implemented scheduling objective.”

This preserves the current evidence without prejudging the rerun.

Safe wording for the shortfall analysis

Use:

“The CP and ND⁰ schedules produce approximately 1.16 GWh of evaluated annual heat shortfall, distributed across all 8,760 hours, with a maximum hourly shortfall of 0.14 MW. The shortfall is valued under three replacement-price assumptions. No velocity or pressure-drop violations are recorded in the forward evaluation.”

Do not describe this as physically feasible recourse unless unit redispatch and spare capacity were explicitly checked.

Recommended workflow

Make all text, equation, taxonomy, scope, and numerical corrections now.

Rebuild the manuscript and supplementary material.

Keep the objective-alignment sensitivity visibly marked as pending.

When capacity becomes available, rerun only CP, CP+L, ND⁰ and L1.

Update the decomposition table, abstract, conclusion, highlights, and response letter if the percentages change.

Perform the final clean rebuild and submission sync.

The document can therefore become nearly submission-ready now, but it should not be submitted until the pending sensitivity is either completed or explicitly justified as outside the revision scope.